| Cell Line | Lab Code | Cell Code | Sterility Test | Mycoplasma PCR | Cell Inoculation |
| --- | --- | --- | --- | --- | --- |
| CA1 (S) | S | 01 | Negative | Negative | Negative |
| CA1 (L) | S | 03 | Negative | Negative | Negative |
| Feeders | S | 05 | Negative | Negative | Negative |

|  | Samples inoculated 27/04/05 |
| --- | --- |
|  | Samples inoculated 26/05/05 |
|  | Samples inoculated 30/06/05 |
|  | Samples inoculated 12/01/06 |

KEY: